## config
Frequency | Input offset | Output offset | Power Voltage | Power Current Limit | Power meter probe Channel | Aging time | Source generate | Power supply comm | Power meter comm | Spectrum comm | Network comm | Select Freq | Output offset ref power | ATR start input dBm | Psat input | Overdrive input | Pout
GHz | dB | dB | V | A | Channel | sec | GPIB | GPIB | GPIB | GPIB | GPIB | MHz | dBm | dBm | dBm | dBm | dBm
1.1 | 0.1 | 50 | 28 | 28 | 2 | 1 | 18 | 20 | 13 | 5 | 16 | 700 | 10 | -20 | 0 | 8 | 49.92
1.2 | 0.2 | 50 | [9 empty] | 1000
1.3 | 0.3 | 50 | [9 empty] | 1050 | 50
1.4 | 0.4 | 50 | [9 empty] | 1100
1.5 | 0.5 | 50 | [9 empty] | 1150
1.6 | 0.6 | 50 | [9 empty] | 1200
1.7 | 0.7 | 50 | [9 empty] | 1250
1.8 | 0.8 | 50 | [9 empty] | 1300
1.9 | 0.9 | 50 | [9 empty] | 1350
2 | 1 | 50 | [9 empty] | 1400
2.1 | 1.1 | 50 | [9 empty] | 1450
1500
1550
1600
1650
1700
1750
1800
1850
1900
1950
2000
2050
2100
2150
2200
2250
2300
2350
2400
2450
2500
2550
2600
2650
2700
2750
2800
2850
2900
2950
3000
3050
3100
3150
3200
3250
3300
3350
3400
3450
3500
3550
3600
3650
3700
3750
3800
3850
3900
3950
4000
4050
4100
4150
4200
4250
4300
4350
4400
4450
4500
4550
4600
4650
4700
4750
4800
4850
4900
4950
5000
5050
5100
5150
5200
5250
5300
5350
5400
5450
5500
5550
5600
5650
5700
5750
5800
5850
5900
5950
6000

## help
name(row = 1) | Column | unit(row = 2) | description | EAC
Frequency | A | Hz, KHz, MHz, GHz, THz | source generate freq data
Input offset | B | dB | power meter input offset data | fixed
Output offset | C | dB | power meter output offset data | fixed
Power Voltage | D | V | power supply voltage data | fixed
Power Current Limit | E | A | power supply current limit data | fixed
Power meter probe Channel | F | Channel | power meter probe number | fixed
Aging time | G | sec, min, hour | Aging at start frequency
Source generate | H | GPIB, USB, Serial, Ethernet | source generate communication data | if select serial, Baudrate data needed if select ethernet ip address needed
Power supply comm | I | GPIB, USB, Serial, Ethernet | power supply communication data | if select serial, Baudrate data needed if select ethernet ip address needed
Power meter comm | J | GPIB, USB, Serial, Ethernet | power meter communication data | if select serial, Baudrate data needed if select ethernet ip address needed
Spectrum comm | K | GPIB, USB, Serial, Ethernet | spectrum communication data | if select serial, Baudrate data needed if select ethernet ip address needed
Network comm | L | GPIB, USB, Serial, Ethernet | network communication data | if select serial, Baudrate data needed if select ethernet ip address needed
Select Freq | M | Hz, KHz, MHz, GHz, THz | Select frequency
Output offset ref power | N | dBm | Output reference power
ATR start input dBm | O | dBm | atr start power
Psat input | P | dBm | atr psat power
Overdrive input | Q | dBm | atr overdrive power
Pout | R | dBm | atr p out power